## Slide 1
ECOllateral / CSCI 4150 A2
How much water does a cooling scenario consume?
Snapshot: October 7, 2026 | Synthetic labels; field validation pending
1
For researchers and planners comparing proposed data centers
INPUT
Capacity (MW)
Cooling type
Watershed + month
OUTPUT
Consumption (MGD) + bounds
Interval + quality warnings
Geographic permit quotations
Working local prototype | Shaun, Troy, Scott
Notes: Shaun, 30 seconds. Source: docs/a2/dossier.md section 1; docs/a2/evidence/forecast.json. Synthetic labels and fictional permits. Public ingestion is a parser smoke test. The current collateral stress field is an on-site consumption proxy. Assigned day is pending.

## Slide 2
ECOllateral / CSCI 4150 A2
Meaning lives in features, rules, vectors, and scope
E3/E4: constraint-failure-cases.json; retrieval-cases.json | Diagram shows current prototype
2
Request: MW, cooling type, HUC8, month; optional facility coordinates
Public data
USGS / NOAA
values + units
Six features
MW, C, MGD
PDSI + season
Regressor
RF / XGBoost
learned trees
Thermal rules
clip + flag
capacity/ambient
Forecast
MGD + interval
bounds + flags
Permit text
source + section
exact excerpt
Metadata
HUC or radius
identifiers
TF-IDF
FAISS ranking
lexical vectors
Geo filter
scope match
before top-k
Quotations
source + section
extractive text
Offline: synthetic consumption labels -> chronological train / calibration / test
Bounds flag injected errors; four geographic retrieval cases pass.
Notes: Shaun, 30 seconds. Sources: src/models/regression.py, src/rules/thermodynamic.py, src/grounding/store.py, src/grounding/generator.py; docs/a2/evidence E3/E4 JSON. Rules also use capacity and ambient features. Fault injection -1/1e6 MGD clips to 0/0.446484 MGD for 40 MW, 30 C dry, 20 C wet. Four fictional retrieval cases pass. No LLM arithmetic or legal compliance decision.

## Slide 3
ECOllateral / CSCI 4150 A2
XGBoost reduced error on the synthetic benchmark
E1: regression-comparison.csv | 333 test rows per evaporative type | MAE in MGD
3
Chart: Mean absolute error (MGD)
| Cooling tower | Direct evaporative
RandomForest | 0.0048897 | 0.0038419
XGBoost | 0.0036682 | 0.0031913
Adopt
Select by calibration RMSE.
Keep RF as the baseline.
Measured facility labels
remain the main gap.
Chronological 60/20/20 dates | Dry air cooling: zero target, undefined R2
Notes: Shaun, 45 seconds. Source: docs/a2/evidence/regression-comparison.csv and benchmark.json. 1,600 synthetic rows per type, six years, seed 42. Selected tower R2 .99808, direct .99728. No field generalization claim. Model selection and interval sizing reuse calibration partition.

## Slide 4
ECOllateral / CSCI 4150 A2
Correlated donors made drought gaps easy to fill
E2: missingness-summary.csv; biased-donor-diagnostic.csv | Main test: fitted model, synthetic hydrology
4
Chart: Variance (10^-8 MGD2)
| 10% gaps | 25% gaps | 40% gaps
Spatial nearest | 0.32947 | 0.63138 | 0.90536
Linear time | 0.60013 | 2.2121 | 4.0923
100% within tolerance
+/-0.05 MGD
50 repeats; 121 drought dates
Biased-donor diagnostic:
spatial coverage 60.3%
Modify: validate donors and shared outages; diagnostic uses a separate simple predictor.
Notes: Troy, 40 seconds. Main data source: missingness-summary.csv. Bar values are exact variance multiplied by 1e8. Random gaps, fixed trained model, seed 42. Biased diagnostic: +100 MGD donors, 40% gaps, 20 repeats, predictor=.01*flow, spatial coverage .603305785, linear .985950413. Not a fitted-model failure rate. Interpolation is retrospective; sensitivity bands are not forecast intervals.

## Slide 5
ECOllateral / CSCI 4150 A2
High R2 did not establish 90% interval coverage
E5: interval-coverage.csv; benchmark.json | Synthetic held-out samples, 333 per model
5
Chart: Labels inside interval
| Tower XGB | Direct XGB | Nominal
Coverage | 0.88288 | 0.87988 | 0.9
88.3% / 88.0%
Tower R2 = 0.998
Coverage misses the
observed 90% gate.
Modify: separate tuning
and interval calibration.
Finite samples; no significance test or independently validated coverage guarantee.
Notes: Troy, 35 seconds. Sources: interval-coverage.csv; src/models/regression.py. Tower 294/333, direct 293/333, nominal .9. Selection and radius share calibration set. Chronological dependence complicates exchangeability. These finite samples do not establish statistical significance. R2 is not confidence; air zero target excluded.

## Slide 6
ECOllateral / CSCI 4150 A2
Next: test measured consumption at an unseen facility
Decisions: E1-E5 | Proposed responsibilities: Shaun / Troy / Scott | Presentation day pending
6
Adopt
Tree baselines, independent rules, geography-aware quotations
Modify
Donor validation, shared outages, independent interval calibration
Reject / Defer
Reject R2-as-confidence; defer neural and generative LLM models
Can the constrained model generalize during drought with adequate coverage?
Shaun: code + calibration Troy: data + drought Scott: permits + evidence
Notes: Scott, 60 seconds. Source: docs/a2/dossier.md sections 7-8, evidence-summary.csv, team-contributions.md. No neural/LLM comparison run. Shaun majority coding is confirmed; Troy/Scott supporting responsibilities are assigned, not certified completed. Next measured-label study needs facility holdouts, verified station maps, real permit relevance, MAE/RMSE/R2/coverage/width. Course date, deadline, office hours and instructor access remain pending.